## Sheet2
TIU Equipment
Device | Code | Manufacturer | Model | S. Number | Quantity
HYDRAULIC LAB
Hydrostatic Pressure | HYD.1 | EDLAB Quip | FM.100.08 | ……….. | 1
Impact of Jets | HYD.2 | EDLAB Quip | FM.100.09 | ……….. | 1
Bernoulli’s Theorem | HYD.3 | EDLAB Quip | FM.100.08 | ……….. | 1
Flow Water Apparatus | HYD.4 | EDLAB Quip | FM.100.02 | ……….. | 1
Channel tank | HYD.5 | EDLAB Quip | FM.100.06A | ……….. | 1
Hydraulic Bench | HYD.7 | EDLAB Quip | FM.100 | 15424 | 1
Pipe Flow Apparatus | HYD.8 | EDLAB Quip | ……….. | ……….. | 1
Pipe Flow Apparatus | HYD.8 | EDLAB Quip | ……….. | ……….. | 1
Friction Losses in Pipes and Fittings | HYD.9 | Cussons Technology | ……….. | P5160/191 | 1
Water Recirculating Unit c/w | HYD.10 | Cussons Technology | ……….. | P5160/001 | 1
Volumetric Tank
Pelton Wheel Apparatus | HYD.11 | Cussons Technology | ……….. | P6240/205 | 1
Variable Head Outlet Tank | HYD.12 | Cussons Technology | ……….. | P6104/635 | 1
Constant Head Inlet Tank Assembly | HYD.13 | Cussons Technology | ……….. | P6103/002 | 1
Osborne Reynolds Apparatus | HYD.14 | Cussons Technology | ……….. | P6248/223 | 1
Flow Channel | HYD.15 | Cussons Technology | ……….. | P6245/180 | 1
Flow Channel Support Stand | HYD.16 | Cussons Technology | ……….. | P6249/109 | 1
Basic Hydraulic bench with dual, variable speed drive | HYD.17 | Cussons Technology | ……….. | P6100-03/824 | 1
SURVEYING LAB
Level | SRV.01 | Topcon | AT-B4 | T60044 | 1
Level | SRV.02 | Nikon | Ax-2s | 834373 | 1
Level | SRV.03 | ………… | NA532 | B041164 | 1
Level | SRV.04 | Topcon | AT-B4 | T60165 | 1
Level | SRV.05 | Nikon | Ax-2s | 829303 | 1
Level | SRV.06 | Topcon | AT-B4 | T60163 | 1
Level | SRV.07 | Nikon | Ax-2s | 833900 | 1
Theodolite | SRV.08 | Topcon | DT-209 | J32740 | 1
Theodolite | SRV.09 | Topcon | DT-209 | J32733 | 1
Theodolite | SRV.10 | Topcon | DT-209 | J32734 | 1
Theodolite | SRV.11 | Topcon | DT-209 | J32741 | 1
Theodolite | SRV.12 | Topcon | DT-209 | J32737 | 1
Measuring Tape | SRV.13 | Stanley | ………… | ………… | 4
Tripod | SRV.14 | Topcon | ………… | ………… | 9
Ranging Pole | SRV.15 | ………… | ………… | ………… | 17
Level Staff | SRV.16 | ………… | ………… | ………… | 7
Steel Arrow | SRV.17 | Ishik Uni. | ………… | ………… | 30
Measuring Tape | SRV.13 | Stanley | ………… | ………… | 7
Tripod | SRV.14 | Topcon | ………… | ………… | 9
Ranging Pole | SRV.15 | ………… | ………… | ………… | 18
Level Staff | SRV.16 | ………… | ………… | ………… | 8
Steel Arrow | SRV.17 | Ishik Uni. | ………… | ………… | 20
TRANSPORTATION
Penatration Device | Trans.01 | KAL TEST | ---------- | ---------- | 1
Viscosity | Trans.02 | ---------- | ---------- | ---------- | 1
Flash and Fire | Trans.03 | KAL TEST | ---------- | 12.003 | 1
Softening | Trans.04 | ISO TEX | ---------- | ---------- | 1
Marshal | Trans.05 | KAL TEST | AS053 | 12.012 | 1
Mixer | Trans.06 | ALFA | ---------- | ---------- | 1
Compacture | Trans.07 | ---------- | ---------- | ---------- | 1
Los. Angeles | Trans.08 | KAL TEST | AG0845 | 12.007 | 1
Ductility | Trans.09 | KAL TEST | B054 | 12.005 | 1
Oven | Trans.10 | KAL TEST | kal-A002 | 11.003 | 1
Penatration Device | Trans.11 | KAL TEST | ---------- | ---------- | 1
Viscosity | Trans.12 | ---------- | ---------- | ---------- | 1
Flash and Fire | Trans.13 | KAL TEST | ---------- | 12.003 | 1
Softening | Trans.14 | ISO TEX | ---------- | ---------- | 1
CONCRETE LAB
Penatration Device | Con.01 | ALFA | ---------- | 280413/5 | 3
Flexure Device | Con.02 | ALFA | DJ-09-CON | ---------- | 1
Compaction Factor Machine | Con.03 | ---------- | ---------- | ---------- | 1
Flow Device | Con.04 | ALFA | C-021 | 100310/7 | 1
Sieve Shaker | Con.05 | KAL TEST | -------- | ---------- | 1
Cube Shaker | Con.06 | KAL TEST | C287 | 12.002 | 1
Oven | Con.07 | KAL TEST | 16012 | 12-014 | 1
Compression Machine | Con.08 | KAL TEST | KA4-5074 | 11-040 | 1
Mixer | Con.09 | KAL TEST | -------- | ---------- | 1
Compression Machine New | Con.10 | ALFA | ------ | ------ | 1
UTM Machine | Con.11 | ALFA | ------ | ------ | 1
Water Bath | Con.12 | ALFA | -------- | 270313/2 | 1
Balance | Con.13 | ---------- | ---------- | ---------- | 2
ELECTRICAL AND ELECTRONIC LAB
RESISTOR COLOR CODE AND MEASURMENT | ELC1 | YILDRIM | Y-0016/001 | 1801012 | 1
RESISTOR COLOR CODE AND MEASURMENT | ELC2 | YILDRIM | Y-0016/001 | 1801019 | 1
RESISTOR COLOR CODE AND MEASURMENT | ELC3 | YILDRIM | Y-0016/001 | 1801004 | 1
RESISTOR COLOR CODE AND MEASURMENT | ELC4 | YILDRIM | Y-0016/001 | 1801006 | 1
INVESTIGATION OF OHMS LAW, INVESTIGATION OF KIRCHOFF VOLTAGE, INVESTIHATION OF KIRCHOFF CURRENT LAW | ELC5 | YILDRIM | Y-0016/002 | 1801010 | 1
INVESTIGATION OF OHMS LAW, INVESTIGATION OF KIRCHOFF VOLTAGE, INVESTIHATION OF KIRCHOFF CURRENT LAW | ELC6 | YILDRIM | Y-0016/002 | 1801002 | 1
INVESTIGATION OF OHMS LAW, INVESTIGATION OF KIRCHOFF VOLTAGE, INVESTIHATION OF KIRCHOFF CURRENT LAW | ELC7 | YILDRIM | Y-0016/002 | 1801020 | 1
INVESTIGATION OF OHMS LAW, INVESTIGATION OF KIRCHOFF VOLTAGE, INVESTIHATION OF KIRCHOFF CURRENT LAW | ELC8 | YILDRIM | Y-0016/002 | 1801015 | 1
CONNECTED RESISTOR , CONNECTED INDUCTOR, CONNECTED, CAPACITANCE | ELC9 | YILDRIM | Y-0016/003 | 1801012 | 1
CONNECTED RESISTOR , CONNECTED INDUCTOR, CONNECTED, CAPACITANCE | ELC10 | YILDRIM | Y-0016/003 | 1801001 | 1
CONNECTED RESISTOR , CONNECTED INDUCTOR, CONNECTED, CAPACITANCE | ELC11 | YILDRIM | Y-0016/003 | 1801020 | 1
CONNECTED RESISTOR , CONNECTED INDUCTOR, CONNECTED, CAPACITANCE | ELC12 | YILDRIM | Y-0016/003 | 1801006 | 1
SUPERPOSITION THEOREM, THEVENIN THEOREM, NORTON THEOREM | ELC13 | YILDRIM | Y-0016/004 | 1801011 | 1
SUPERPOSITION THEOREM, THEVENIN THEOREM, NORTON THEOREM | ELC14 | YILDRIM | Y-0016/004 | 1801019 | 1
SUPERPOSITION THEOREM, THEVENIN THEOREM, NORTON THEOREM | ELC15 | YILDRIM | Y-0016/004 | 1801002 | 1
SUPERPOSITION THEOREM, THEVENIN THEOREM, NORTON THEOREM | ELC16 | YILDRIM | Y-0016/004 | 1801006 | 1
DIOD, HALF WAVE RECTIFIER, FULL WAVE RECTIFIER, BRIDGE RECTIFIER | ELC17 | YILDRIM | Y-0016/005 | 1801012 | 1
DIOD, HALF WAVE RECTIFIER, FULL WAVE RECTIFIER, BRIDGE RECTIFIER | ELC18 | YILDRIM | Y-0016/005 | 1801018 | 1
DIOD, HALF WAVE RECTIFIER, FULL WAVE RECTIFIER, BRIDGE RECTIFIER | ELC19 | YILDRIM | Y-0016/005 | 1801010 | 1
DIOD, HALF WAVE RECTIFIER, FULL WAVE RECTIFIER, BRIDGE RECTIFIER | ELC20 | YILDRIM | Y-0016/005 | 1801006 | 1
VOLTAGE DOUBLER , VOLTAGE TRIPPLER, VOLTAGE QUADRUPLER | ELC21 | YILDRIM | Y-0016/006 | 1801002 | 1
VOLTAGE DOUBLER , VOLTAGE TRIPPLER, VOLTAGE QUADRUPLER | ELC22 | YILDRIM | Y-0016/006 | 1801019 | 1
VOLTAGE DOUBLER , VOLTAGE TRIPPLER, VOLTAGE QUADRUPLER | ELC23 | YILDRIM | Y-0016/006 | 1801015 | 1
VOLTAGE DOUBLER , VOLTAGE TRIPPLER, VOLTAGE QUADRUPLER | ELC24 | YILDRIM | Y-0016/006 | 1801012 | 1
TRANSISTOR REGION | ELC25 | YILDRIM | Y-0016/007 | 1801001 | 1
TRANSISTOR REGION | ELC26 | YILDRIM | Y-0016/007 | 1801016 | 1
TRANSISTOR REGION | ELC27 | YILDRIM | Y-0016/007 | 1801005 | 1
TRANSISTOR REGION | ELC28 | YILDRIM | Y-0016/007 | 1801011 | 1
ZENER DIOD , PARALLEL REGULATED RECTIFIER, SERIAL REGULATED, RECTIFIER | ELC29 | YILDRIM | Y-0016/008 | 1801020 | 1
ZENER DIOD , PARALLEL REGULATED RECTIFIER, SERIAL REGULATED, RECTIFIER | ELC30 | YILDRIM | Y-0016/008 | 1801001 | 1
ZENER DIOD , PARALLEL REGULATED RECTIFIER, SERIAL REGULATED, RECTIFIER | ELC31 | YILDRIM | Y-0016/008 | 1801005 | 1
ZENER DIOD , PARALLEL REGULATED RECTIFIER, SERIAL REGULATED, RECTIFIER | ELC32 | YILDRIM | Y-0016/008 | 1801012 | 1
EMITTER GROUND, AMPLIFIER | ELC33 | YILDRIM | Y-0016/009 | 1801019 | 1
EMITTER GROUND, AMPLIFIER | ELC34 | YILDRIM | Y-0016/009 | 1801002 | 1
EMITTER GROUND, AMPLIFIER | ELC35 | YILDRIM | Y-0016/009 | 1801010 | 1
EMITTER GROUND, AMPLIFIER | ELC36 | YILDRIM | Y-0016/009 | 1801015 | 1
AMPLIFIER | ELC37 | YILDRIM | Y-0016/010 | 1801020 | 1
AMPLIFIER | ELC38 | YILDRIM | Y-0016/010 | 1801002 | 1
AMPLIFIER | ELC39 | YILDRIM | Y-0016/010 | 1801015 | 1
AMPLIFIER | ELC40 | YILDRIM | Y-0016/010 | 1801010 | 1
TRANSISTOR SOUND, AMPLIFIER, INTEGRATED, SOUND AMPLIFIER | ELC41 | YILDRIM | Y-0016/011 | 1801011 | 1
TRANSISTOR SOUND, AMPLIFIER, INTEGRATED, SOUND AMPLIFIER | ELC42 | YILDRIM | Y-0016/011 | 1801001 | 1
TRANSISTOR SOUND, AMPLIFIER, INTEGRATED SOUND AMPLIFIER | ELC43 | YILDRIM | Y-0016/011 | 1801009 | 1
TRANSISTOR SOUND, AMPLIFIER, INTEGRATED SOUND AMPLIFIER | ELC44 | YILDRIM | Y-0016/011 | 1801011 | 1
EXAMINATION OFSOURCE, GROUND CONNECTION | ELC45 | YILDRIM | Y-0016/012 | 1801019 | 1
EXAMINATION OFSOURCE, GROUND CONNECTION | ELC46 | YILDRIM | Y-0016/012 | 1801009 | 1
EXAMINATION OFSOURCE, GROUND CONNECTION | ELC47 | YILDRIM | Y-0016/012 | 1801012 | 1
EXAMINATION OFSOURCE, GROUND CONNECTION | ELC48 | YILDRIM | Y-0016/012 | 1801005 | 1
OPERATION OF E-VMOSFET | ELC49 | YILDRIM | Y-0016/013 | 1801012 | 1
OPERATION OF E-VMOSFET | ELC50 | YILDRIM | Y-0016/013 | 1801002 | 1
OPERATION OF E-VMOSFET | ELC51 | YILDRIM | Y-0016/013 | 1801009 | 1
OPERATION OF E-VMOSFET | ELC52 | YILDRIM | Y-0016/014 | 1801001 | 1
OSCILLATOR | ELC53 | YILDRIM | Y-0016/014 | 1801011 | 1
OSCILLATOR | ELC54 | YILDRIM | Y-0016/014 | 1801019 | 1
OSCILLATOR |  | YILDRIM | Y-0016/014 | 1801006 | 1
EXAMINATION OF SERIAL CIRCUITS IN AC | ELC55 | YILDRIM | Y-0016/001AC | 1710019 | 1
EXAMINATION OF SERIAL CIRCUITS IN AC | ELC56 | YILDRIM | Y-0016/001AC | 1710017 | 1
EXAMINATION OF SERIAL CIRCUITS IN AC | ELC57 | YILDRIM | Y-0016/001AC | 1710039 | 1
EXAMINATION OF SERIAL CIRCUITS IN AC | ELC58 | YILDRIM | Y-0016/001AC | 1710020 | 1
PARALLEL RESONANCE, SERIAL RESONANCE | ELC59 | YILDRIM | Y-0016/002AC | 1710019 | 1
PARALLEL RESONANCE, SERIAL RESONANCE | ELC60 | YILDRIM | Y-0016/002AC | 1710030 | 1
PARALLEL RESONANCE, SERIAL RESONANCE | ELC61 | YILDRIM | Y-0016/002AC | 1710035 | 1
PARALLEL RESONANCE, SERIAL RESONANCE | ELC62 | YILDRIM | Y-0016/002AC | 1710010 | 1
TRANSFORMER | ELC63 | YILDRIM | Y-0016/003AC | 1710004 | 1
TRANSFORMER | ELC64 | YILDRIM | Y-0016/003AC | 1710010 | 1
TRANSFORMER | ELC65 | YILDRIM | Y-0016/003AC | 1710038 | 1
TRANSFORMER | ELC66 | YILDRIM | Y-0016/003AC | 1710006 | 1
LOGIC GATES | ELC67 | YILDRIM | Y-0016/001D | 1711013 | 1
LOGIC GATES | ELC68 | YILDRIM | Y-0016/001D | 1803017 | 1
LOGIC GATES | ELC69 | YILDRIM | Y-0016/001D | 1803020 | 1
LOGIC GATES | ELC70 | YILDRIM | Y-0016/001D | 1803023 | 1
Boolen algebra and demorgan theorem | ELC71 | YILDRIM | Y-0016/002D | 1803015 | 1
Boolen algebra and demorgan theorem | ELC72 | YILDRIM | Y-0016/002D | 1803017 | 1
Boolen algebra and demorgan theorem | ELC73 | YILDRIM | Y-0016/002D | 1803029 | 1
Boolen algebra and demorgan theorem | ELC74 | YILDRIM | Y-0016/002D | 1711017 | 1
FLIP-FLOP | ELC75 | YILDRIM | Y-0016/003D | 1711005 | 1
FLIP-FLOP | ELC76 | YILDRIM | Y-0016/003D | 1803028 | 1
FLIP-FLOP | ELC77 | YILDRIM | Y-0016/003D | 1803021 | 1
FLIP-FLOP | ELC78 | YILDRIM | Y-0016/003D | 1803018 | 1
COUNTER | ELC79 | YILDRIM | Y-0016/004D | 1803020 | 1
COUNTER | ELC80 | YILDRIM | Y-0016/004D | 1711017 | 1
COUNTER | ELC81 | YILDRIM | Y-0016/004D | 1803019 | 1
COUNTER | ELC82 | YILDRIM | Y-0016/004D | 1803022 | 1
HALF ADDER, FULL ADDER, HALF SUBTRACTOR, FULL SUBTRACTOR | ELC83 | YILDRIM | Y-0016/005D | 1803015 | 1
HALF ADDER, FULL ADDER, HALF SUBTRACTOR, FULL SUBTRACTOR | ELC84 | YILDRIM | Y-0016/005D | 1803025 | 1
HALF ADDER, FULL ADDER, HALF SUBTRACTOR, FULL SUBTRACTOR | ELC85 | YILDRIM | Y-0016/005D | 1803006 | 1
HALF ADDER, FULL ADDER, HALF SUBTRACTOR, FULL SUBTRACTOR | ELC86 | YILDRIM | Y-0016/005D | 1711017 | 1
SHIFT REGISTER | ELC87 | YILDRIM | Y-0016/006D | 1803025 | 1
SHIFT REGISTER | ELC88 | YILDRIM | Y-0016/006D | 1803008 | 1
SHIFT REGISTER | ELC89 | YILDRIM | Y-0016/006D | 1803028 | 1
SHIFT REGISTER | ELC90 | YILDRIM | Y-0016/006D | 1711006 | 1
RAM MEMORY WRITE AND READ | ELC91 | YILDRIM | Y-0016/007D | 1803015 | 1
RAM MEMORY WRITE AND READ | ELC92 | YILDRIM | Y-0016/007D | 1711010 | 1
RAM MEMORY WRITE AND READ | ELC93 | YILDRIM | Y-0016/007D | 1803020 | 1
RAM MEMORY WRITE AND READ | ELC94 | YILDRIM | Y-0016/007D | 1803008 | 1
Obtaining sliding letters and by using character generator and point matrices | ELC95 | YILDRIM | Y-0016/008D | 1711008 | 1
Obtaining sliding letters and by using character generator and point matrices | ELC96 | YILDRIM | Y-0016/008D | 1803023 | 1
Obtaining sliding letters and by using character generator and point matrices | ELC97 | YILDRIM | Y-0016/008D | 1803029 | 1
Obtaining sliding letters and by using character generator and point matrices | ELC98 | YILDRIM | Y-0016/008D | 1803018 | 1
CHANNELS MULTIPLEXER | ELC99 | YILDRIM | Y-0016/009D | 1803019 | 1
CHANNELS, DEMULTIPLEXER
CHANNELS MULTIPLEXER | ELC100 | YILDRIM | Y-0016/009D | 1711016 | 1
CHANNELS, DEMULTIPLEXER
CHANNELS MULTIPLEXER | ELC101 | YILDRIM | Y-0016/009D | 1803009 | 1
CHANNELS, DEMULTIPLEXER
CHANNELS MULTIPLEXER | ELC102 | YILDRIM | Y-0016/009D | 1803014 | 1
CHANNELS, DEMULTIPLEXER
DIGITAL TO ANALOG CONUERTER | ELC103 | YILDRIM | Y-0016/010D | 1711017 | 1
DIGITAL TO ANALOG CONUERTER | ELC104 | YILDRIM | Y-0016/010D | 1803007 | 1
DIGITAL TO ANALOG CONUERTER | ELC105 | YILDRIM | Y-0016/010D | 1803020 | 1
DIGITAL TO ANALOG CONUERTER | ELC106 | YILDRIM | Y-0016/010D | 1803011 | 1
DIGITAL AVOMETER | ELC107 | YILDRIM | Y-0016/011D | 1803010 | 1
DIGITAL AVOMETER | ELC108 | YILDRIM | Y-0016/011D | 1803020 | 1
DIGITAL AVOMETER | ELC109 | YILDRIM | Y-0016/011D | 1803009 | 1
DIGITAL AVOMETER | ELC110 | YILDRIM | Y-0016/011D | 1711014 | 1
BASIC ELECTRIC AND ELECTRONIC TRAINING SET | ELC111 | YILDRIM | Y-0016 | 1802030 | 1
BASIC ELECTRIC AND ELECTRONIC TRAINING SET | ELC112 | YILDRIM | Y-0016 | 1802003 | 1
BASIC ELECTRIC AND ELECTRONIC TRAINING SET | ELC113 | YILDRIM | Y-0016 | 1802029 | 1
BASIC ELECTRIC AND ELECTRONIC TRAINING SET | ELC114 | YILDRIM | Y-0016 |  | 1
MULTIMETER | ELC115 | YILDRIM | VC 9808 | 93495753 | 1
MULTIMETER | ELC116 | YILDRIM | VC 9808 | 93495696 | 1
MULTIMETER | ELC117 | YILDRIM | VC 9808 | 93495778 | 1
MULTIMETER | ELC118 | YILDRIM | VC 9808 | 93495759 | 1
FM/PM COMMUNICATIONS TRAINER | ELC119 | ELECTRON | C4141 | C4141 P2777-1 | 1
AM COMMUNICATIONS TRAINER | ELC120 | ELECTRON | C4130 | C4130 P2777-1 | 1
DIGITAL COMMUNICATIONS TRAINER | ELC121 | ELECTRON | C43S1 | C43S1 P2777-1 | 1
PROCESS SIMULATOR (CONTROL LAB) | ELC122 | ELECTRON | C3510-D | B3510D P2777-1 P2777-2 | 2
PROCESS CONTROLLER (CONTROL LAB) | ELC123 | ELECTRON | C3510-E | B3510E P2777-1 P2777-2 | 2
FAULT PROGRAMMER | ELC124 | ELECTRON | FS1E | FS1E P2777-1 | 1
FAULT PROGRAMMER | ELC125 | ELECTRON | FS1E | C3729KM P2777-2 | 1
AC DC POWER SUPPLY | ELC126 | ELECTRON | C4192D | C4192D P2777-1 P2777-2 | 2
AC DC POWER SUPPLY | ELC127 | ELECTRON | C4192D | C4192 P2777-3 | 1
DIGITAL SIGNAL PROCESSING (DSP) | ELC128 | KANDH | CI-51001 | A002721 | 1
DIGITAL SIGNAL PROCESSING (DSP) | ELC129 | KANDH | CI-51001 | A002722 | 1
DIGITAL SIGNAL PROCESSING (DSP) | ELC130 | KANDH | CI-51001 | A002723 | 1
TEMPTRATURE MEASURMENT USING NON CONTACT THERMOMETER INCLUDING THEROCOUPLE & HEATER TRAINER | ELC131 | ADTRON | ………….. | 3070 | 1
MEASURMENT OF TORQUE USING TORQUE TRANSDUCER | ELC132 | ADTRON | ………….. | 3074 | 1
MEASURMENT OF SPEED USING INDUCTIVE PICK-UP TRANSDUCER (DIGITAL) | ELC133 | ADTRON | ………….. | 3015 | 1
VIBRATION TRANSDUCER | ELC134 | ADTRON | ………….. | 3028 | 1
DEAD WEIGHT PRESSURE GAUGE TESTER | ELC135 | ADTRON | ………….. | 4703 | 1
MEASURMENT OF FLOW BY VENTURY METER TRAINER | ELC136 | ADTRON | ………….. | 3063 | 1
CALIBRATION OF VOLTMETER, AMMETER & WATTMETER | ELC137 | ADTRON | ………….. | 8041 | 1
LINEAR SYSTEM SIMULATOR | ELC138 | ADTRON | ………….. | 4025 | 2
SPECIAL EQUIPMMENTs FOR SOLDERING | ELC139 | Pro'sKit | 1PK | SC109NB | 6
OSCILLOSCOPE | ELC140 | GWINSTEK | GDS-1102A-U | GES161387 | 1
OSCILLOSCOPE | ELC141 | GWINSTEK | GDS-1102A-U | GES161373 | 1
OSCILLOSCOPE | ELC142 | GWINSTEK | GDS-1102A-U | GES161359 | 1
OSCILLOSCOPE | ELC143 | GWINSTEK | GDS-1102A-U | GES161362 | 1
Geotechnic Engineering
Drying Oven | Geo.01 | KAL TEST | Ag 012 | 12.015 | 1
Electronic Balance | Geo.02 | KAL TEST | ………….. | …………… | 1
Moisture can | Geo.03 | KAL TEST | ………….. | …………… | 24
Muffle Furnace | Geo.04 | KAL TEST | ………….. | …………… | 1
Porcelain dish | Geo.05 | KAL TEST | ………….. | …………… | 4
Vernier Caliper | Geo.06 | KAL TEST | ………….. | …………… | 1
Pycnometer Cone | Geo.07 | KAL TEST | ………….. | …………… | 1
| Geo.08 | KAL TEST | ………….. | …………… | 1
Vacuum Pump | Geo.09 | KAL TEST | ………….. | …………… | 1
Funnel Plastic | Geo.10 | KAL TEST | ………….. | …………… | 2
Spoon | Geo.11 | KAL TEST | ………….. | …………… | 3
Vibrating Device | Geo.12 | KAL TEST | ………….. | …………… | 1
Proctor mould | Geo.13 | KAL TEST | ………….. | …………… | 2
Proctor Hammer | Geo.14 | KAL TEST | ………….. | …………… | 4
| Geo.15 | KAL TEST | ………….. | …………… | 2
Sample Extruder | Geo.16 | KAL TEST | ………….. | …………… | 1
Mixing Pan | Geo.17 | KAL TEST | ………….. | …………… | 2
Trowel | Geo.18 | KAL TEST | ………….. | …………… | 2
Graduated Cylinder | Geo.19 | KAL TEST | ………….. | …………… | 1
| Geo.20 | KAL TEST | ………….. | …………… | 2
Steel Dish | Geo.21 | KAL TEST | ………….. | …………… | 2
| Geo.22 | KAL TEST | ………….. | …………… | 3
PH meter | Geo.23 | KAL TEST | ………….. | …………… | 1
Plastic Wash Bottle | Geo.24 | KAL TEST | ………….. | …………… | 2
Membrane stretcher mould | Geo.25 | KAL TEST | ………….. | …………… | 1
Saw | Geo.26 | KAL TEST | ………….. | …………… | 1
magnifying Glass | Geo.27 | KAL TEST | ………….. | …………… | 2
Soil Permeability Device | Geo.28 | KAL TEST | So 258 | 12001 | 1
Filter Paper | Geo.29 | KAL TEST | ………….. | …………… | 10
Direct Shear Device | Geo.30 | KAL TEST | So 287 | 12002 | 1
Triaxial Apparutus | Geo.31 | KAL TEST | ………….. | …………… | 1
Surcharge weight | Geo.32 | KAL TEST | ………….. | …………… | 6
Dial Indicator Gauge | Geo.33 | KAL TEST | ………….. | …………… | 4
Soil Sieve Set | Geo.34 | KAL TEST | ………….. | …………… | 1
| Geo.35 | KAL TEST | ………….. | ……………
| Geo.36 | KAL TEST | ………….. | ……………
| Geo.37 | KAL TEST | ………….. | ……………
Sieve Shaker | Geo.38 | KAL TEST | A 060 | 12.002 | 1
Laboratory Mixer | Geo.39 | KAL TEST | ………….. | …………… | 1
Sodium hexametaphosphate extra pure | Geo.40 | KAL TEST | ………….. | …………… | 1
Electronic Thermometer | Geo.41 | KAL TEST | ………….. | …………… | 1
Beaker Glass | Geo.42 | KAL TEST | ………….. | …………… | 4
Chronometer | Geo.43 | KAL TEST | ………….. | …………… | 2
Liquid Limit Device | Geo.44 | KAL TEST | T-030 | 130713/23 | 2
Grooving Tools | Geo.45 | KAL TEST | ………….. | …………… | 4
Glass Plate | Geo.46 | KAL TEST | ………….. | …………… | 1
consolidation unit | Geo.47 | KAL TEST | T-210 | 190713/5 | 2
Electronic balance | Geo.48 | KAL TEST | ………….. | …………… | 1
Shrinkage test (without mercury) | Geo.49 | KAL TEST | ………….. | …………… | 1
Sand cone device | Geo.50 | KAL TEST | ………….. | …………… | 2
mortar | Geo.51 | KAL TEST | ………….. | …………… | 3
Hammer | Geo.52 | KAL TEST | ………….. | …………… | 1
Mechatronics
Lab Desk With Energy Unit | Mech-1 | YILDIRIM | Y-0036-001 | 3600011805006 | 1
Lab Desk With Energy Unit | Mech-2 | YILDIRIM | Y-0036-005 | 3600011805008 | 1
AC Measurement Module | Mech-3 | YILDIRIM | Y-0036-006 | 3600051805006 | 1
DC Measurement Module | Mech-4 | YILDIRIM | Y-0036-007 | 3600061805006 | 1
Analog AC / DC Voltmeter, Module | Mech-5 | YILDIRIM | Y-0036-007 | 3600071805001 | 1
Analog AC / DC Voltmeter, Module | Mech-6 | YILDIRIM | Y-0036-007 | 3600071805002 | 1
Analog AC / DC Voltmeter, Module | Mech-7 | YILDIRIM | Y-0036-007 | 3600071805003 | 1
Analog AC / DC Voltmeter, Module | Mech-8 | YILDIRIM | Y-0036-007 | 3600071805004 | 1
Analog AC / DC Voltmeter, Module | Mech-9 | YILDIRIM | Y-0036-007 | 3600071805005 | 1
Analog AC / DC Ammeter, Module | Mech-10 | YILDIRIM | Y-0036-008 | 3600081805001 | 1
Analog AC / DC Ammeter, Module | Mech-11 | YILDIRIM | Y-0036-008 | 3600081805002 | 1
Analog AC / DC Ammeter, Module | Mech-12 | YILDIRIM | Y-0036-008 | 3600081805003 | 1
Analog AC / DC Ammeter, Module | Mech-13 | YILDIRIM | Y-0036-008 | 3600081805004 | 1
Analog AC / DC Ammeter, Module | Mech-14 | YILDIRIM | Y-0036-008 | 3600081805005 | 1
DC Shunt Motor | Mech-15 | YILDIRIM | Y-0036-023A |  | 1
DC Shunt Motor | Mech-16 | YILDIRIM | Y-0036-023A |  | 1
DC Step Motor and Driver | Mech-17 | YILDIRIM | Y-0036-023C | 00360235c1804001 | 1
DC Motor Driver Module | Mech-18 | YILDIRIM | Y-0036-025 | 360251805006 | 1
Transformer Module – 1, Phase 12-24-36 V Output | Mech-19 | YILDIRIM | Y-0036-027 |  | 1
Transformer Module – 1, Phase 55-110-220 V, Output | Mech-20 | YILDIRIM | Y-0036-028 |  | 1
Rheostat - 50 Ω 1000 W,, Variable | Mech-21 | YILDIRIM | Y-0036-065 |  | 1
Rheostat - 50 Ω 1000 W,, Variable | Mech-22 | YILDIRIM | Y-0036-065 |  | 1
Rheostat - 50 Ω 1000 W,, Variable | Mech-23 | YILDIRIM | Y-0036-065 |  | 1
Rheostat - 100 Ω 500 W,, Variable | Mech-24 | YILDIRIM | Y-0036-066 |  | 1
Rheostat - 100 Ω 500 W,, Variable | Mech-25 | YILDIRIM | Y-0036-066 |  | 1
Rheostat - 100 Ω 500 W,, Variable | Mech-26 | YILDIRIM | Y-0036-066 |  | 1
Rheostat - 100 Ω 500 W,, Variable | Mech-27 | YILDIRIM | Y-0036-066 |  | 1
Load Module - 500 Ω 100 W, Variable | Mech-28 | YILDIRIM | Y-0036-067 | 3600671805006 | 1
Load Module - 500 Ω 100 W, Variable | Mech-29 | YILDIRIM | Y-0036-067 | 3600671805007 | 1
Load Module - 500 Ω 100 W, Variable | Mech-30 | YILDIRIM | Y-0036-067 | 3600671805008 | 1
Load Module - 500 Ω 100 W, Variable | Mech-31 | YILDIRIM | Y-0036-067 | 3600671805009 | 1
PLC Training Set – CPU 1214C - Panel Type | Mech-32 | YILDIRIM | Y-0030-A |  | 1
Asynchronous Motor Application Module | Mech-33 | YILDIRIM | Y-0030-A01 | 1709003 & MP00110200 | 1
DC Motor Application Module | Mech-34 | YILDIRIM | Y-0030-A02 |  | 1
Sensor Application Module | Mech-35 | YILDIRIM | Y-0030-A03 |  | 1
Traffic Signalization Simulation Module | Mech-36 | YILDIRIM | Y-0030-A04 | 0030A0401804001 | 1
Level and Pump Simulation Module | Mech-37 | YILDIRIM | Y-0030-A05 |  | 1
Pressure Control Simulation Module | Mech-38 | YILDIRIM | Y-0030-A06 | 4712005 | 1
Graphic Based Touch-, Screen Operator Panel, Module – Siemens KTP700 | Mech-39 | YILDIRIM | Y-0030-A07 | 3040701804001 | 1
Text Based Operator, Panel Module - Siemens | Mech-40 | YILDIRIM | Y-0030-A08 | 3040801804001 | 1
Power Supply Module for Panel Type PLC - 24V / 2A | Mech-41 | YILDIRIM | Y-0030-A012 |  | 1
3/2-Way Valve With Pushbutton, Normally Closed | Mech-42 | YILDIRIM | Y-0053-P001 |  | 1
3/2-Way Valve With Pushbutton, Normally Closed | Mech-43 | YILDIRIM | Y-0053-P001 |  | 1
3/2-Way Valve With Pushbutton, Normally Open | Mech-44 | YILDIRIM | Y-0053-P002 |  | 1
3/2-Way Valve With Pushbutton, Normally Open | Mech-45 | YILDIRIM | Y-0053-P002 |  | 1
3/2-Way Valve With Emergency Switch, Normally Open | Mech-46 | YILDIRIM | Y-0053-P013 |  | 1
3/2-Way Valve With Emergency Switch, Normally Open | Mech-47 | YILDIRIM | Y-0053-P013 |  | 1
5/2-Way Valve With Selector Switch | Mech-48 | YILDIRIM | Y-0053-P020 |  | 1
5/2-Way Valve With Selector Switch | Mech-49 | YILDIRIM | Y-0053-P020 |  | 1
3/2-Way Roller Lever Valve, Normally Closed | Mech-50 | YILDIRIM | Y-0053-P030 |  | 1
3/2-Way Roller Lever Valve, Normally Closed | Mech-51 | YILDIRIM | Y-0053-P030 |  | 1
3/2-Way Single Acting Pneumatic Valve, Normally Closed | Mech-52 | YILDIRIM | Y-0053-P035 |  | 1
3/2-Way Single Acting Pneumatic Valve, Normally Closed | Mech-53 | YILDIRIM | Y-0053-P035 |  | 1
5/2-Way Single Acting Pneumatic Valve | Mech-54 | YILDIRIM | Y-0053-P037 |  | 1
5/2-Way Single Acting Pneumatic Valve | Mech-55 | YILDIRIM | Y-0053-P037 |  | 1
5/2-Way Double Acting Pneumatic Valve | Mech-56 | YILDIRIM | Y-0053-P038 |  | 1
5/2-Way Double Acting Pneumatic Valve | Mech-57 | YILDIRIM | Y-0053-P038 |  | 1
Regulator (With Manometer) | Mech-58 | YILDIRIM | Y-0053-P045 |  | 1
Regulator (With Manometer) | Mech-59 | YILDIRIM | Y-0053-P045 |  | 1
Manometer | Mech-60 | YILDIRIM | Y-0053-P047 |  | 1
Manometer | Mech-61 | YILDIRIM | Y-0053-P047 |  | 1
Air Distribution Block (8's) | Mech-62 | YILDIRIM | Y-0053-P049 |  | 1
Air Distribution Block (8's) | Mech-63 | YILDIRIM | Y-0053-P049 |  | 1
OR Valve | Mech-64 | YILDIRIM | Y-0053-P051 |  | 1
OR Valve | Mech-65 | YILDIRIM | Y-0053-P051 |  | 1
AND Valve | Mech-66 | YILDIRIM | Y-0053-P052 |  | 1
AND Valve | Mech-67 | YILDIRIM | Y-0053-P052 |  | 1
3/2 Time Delay Valve, Normally Closed | Mech-68 | YILDIRIM | Y-0053-P056 |  | 1
3/2 Time Delay Valve, Normally Closed | Mech-69 | YILDIRIM | Y-0053-P056 |  | 1
Quick Exhaust Valve | Mech-70 | YILDIRIM | Y-0053-P058 |  | 1
Quick Exhaust Valve | Mech-71 | YILDIRIM | Y-0053-P058 |  | 1
One Way Flow Control Valve For Cylinder Use | Mech-72 | YILDIRIM | Y-0053-P061 |  | 1
One Way Flow Control Valve For Cylinder Use | Mech-73 | YILDIRIM | Y-0053-P061 |  | 1
Cylinders Single Acting Spring Ahead (20x50) | Mech-74 | YILDIRIM | Y-0053-P073 |  | 1
Cylinders Single Acting Spring Ahead (20x50) | Mech-75 | YILDIRIM | Y-0053-P073 |  | 1
Double Acting Cylinder (20x100) | Mech-76 | YILDIRIM | Y-0053-P079 |  | 1
Double Acting Cylinder (20x100) | Mech-77 | YILDIRIM | Y-0053-P079 |  | 1
Double Acting and Shaft Transparent Cylinder (20x100) | Mech-78 | YILDIRIM | Y-0053-P098 |  | 1
Double Acting and Shaft Transparent Cylinder (20x100) | Mech-79 | YILDIRIM | Y-0053-P098 |  | 1
Silent Compressor,6 Bar Pressure,Flow Rate 25 liters/min,with 20 liters of air tank,220VAC | Mech-80 | YILDIRIM | Y-0053-P000 |  | 1
3/2-Way Hand Lever Spring Return Valve, Normally Open | Mech-81 | YILDIRIM | Y-0053-P004 |  | 1
3/2-Way Valve With Selector Switch, Normally Closed | Mech-82 | YILDIRIM | Y-0053-P009 |  | 1
3/2-Way Spring Return Pedal Valve, Normally Closed | Mech-83 | YILDIRIM | Y-0053-P014 |  | 1
Microcontroller trainer kit | Mech-84 | Electron | C5116 | P2777-1 | 1
Microcontroller trainer kit | Mech-85 | Electron | C5116 | P2777-2 | 1
Microcontroller trainer kit | Mech-86 | Electron | C5116 | P2777-3 | 1
Microcontroller trainer kit | Mech-87 | Electron | C5116 | P2777-4 | 1
Microcontroller trainer kit | Mech-88 | Electron | C5116 | P2777-5 | 1
Microcontroller trainer kit | Mech-89 | Electron | C5116 | P2777-6 | 1
Microcontroller trainer kit | Mech-90 | Electron | C5116 | P2777-7 | 1
Microcontroller trainer kit | Mech-91 | Electron | C5116 | P2777-8 | 1
Microcontroller trainer kit | Mech-92 | Electron | C5116 | P2777-9 | 1
Microcontroller trainer kit | Mech-93 | Electron | C5116 | P2777-10 | 1
Microprocessor trainer B5110-16 8086 | Mech-94 | unknown | MDA-8086 VER 9.1 | MT1100731 | 1
Microprocessor trainer B5110-16 8086 | Mech-95 | unknown | MDA-8086 VER 9.1 | MT1100738 | 1
Microprocessor trainer B5110-16 8086 | Mech-96 | unknown | MDA-8086 VER 9.1 | MT1100729 | 1
Microprocessor trainer B5110-16 8086 | Mech-97 | unknown | MDA-8086 VER 9.1 | MT1100719 | 1
Microprocessor trainer B5110-16 8086 | Mech-98 | unknown | MDA-8086 VER 9.1 | MT1100710 | 1
Microprocessor trainer B5110-16 8086 | Mech-99 | unknown | MDA-8086 VER 9.1 | MT1100720 | 1
Microprocessor trainer B5110-16 8086 | Mech-100 | unknown | MDA-8086 VER 9.1 | MT1100712 | 1
Microprocessor trainer B5110-16 8086 | Mech-101 | unknown | MDA-8086 VER 9.1 | MT1100717 | 1
Microprocessor trainer B5110-16 8086 | Mech-102 | unknown | MDA-8086 VER 9.1 | MT1100724 | 1
Microprocessor trainer B5110-16 8086 | Mech-103 | unknown | MDA-8086 VER 9.1 | MT1100721 | 1
Microbiology & Physiology
Magnetic stirrer | Mic-1 | Dragon Lab | MS-H-S | ZT01093 | 1
Water bath | Mic-2 | Gemmy Corp | YCW-01 | 903280 | 1
Hot oven | Mic-3 | Blast Air Oven | ZHEJIANG XINFENG | DHG-9030A | 1
Micro-Hematocrit | Mic-4 | K Company | KHT-400 | 4423 | 1
Electronic scale | Mic-5 | G & G | JJ20KA | 272010040262 | 1
Microprocessor PH meter | Mic-6 | Arbon | Arbon AC-308d | 120168269 | 1
Spectrophotometer | Mic-7 | Apel | PD-303 | 305017 | 1
Hot Air sterilizer | Mic-8 | K Company | GEMMY 888 | YCO-010 | 1
Water still | Mic-9 | Lab Tech | WD-1004 | B01124016 | 1
Clinical Autoclave | Mic-10 | Prestige Medical | Series 2100 | 219500 | 1
Lab incubator | Mic-11 | K Company | IN-010 | 804726 | 1
Autoclave | Mic-12 | Ritter America | Pure tec PB-23L | 220001390 | 1
Autoclave | Mic-13 | Japan | YX-280AS | TS2233057 | 2
Pharmacy Lab 2
HPLC-UV | PHAR 1 | OKNM | 56020 | 17417 | 1
UV-visible Spectrophotometer | PHAR 2 | ABRON | 921 | 161112754 | 1
Water Distiller | PHAR 3 | Nuve Sanayl | ND 4 | 2.0643 | 1
Autoclave | PHAR 4 |  |  |  | 1
Digital calorimeter | PHAR 5 | Made in Spain | F1 A 250 V | 122503 | 1
Bench top centrifuge | PHAR 6 | Nuve | NF 048 | 2.4351 | 1
PH meter | PHAR 7 | SPER | 860033 | 10251161 | 1
Ice maker | PHAR 8 |  |  |  | 1
Oven | PHAR 9 | Nuve Sanayl | KD 200 | 6.0531 | 1
Incubating orbital shaker | PHAR 10 | VWR | 230 V | 18022001 | 1
Digital Sensitive Balance | PHAR 11 | ADAM | NBL214 | AE9×B225 | 2
Hot Plate | PHAR 13 | NMR | 984VW7CHPEVS | 160912002 | 1
Magnetic stirrer | PHAR14 | NMR | 984VW4CTEUS | 171229001 | 2
Microplate washer | MED 2 | BioTek | Ref= 50TS8 | 1802096 | 1
Auto-read Plus | MED 3 | QBC | 3. 00 AE | 421928 | 1
Diagnostics centrifuge | MED 4 | QBS | 425740 | Ref= 515 | 1
ELISA | MED 5 | EXL ×808 |  | 1802113 | 1
Multi-Tube vortex | MED 6 | VWR | Multi 230 V | 171218001 | 1
Digital Heatblock | MED 7 | VWR | Multi 230 V | 171114002 | 1
Centrion Scientific | MED 8 | Pro-Analytical CR2000 | T6-3 A | 2180661 | 1
Filter paper 15 cm | PHAR 15 |  |  |  | 5
Filter paper 12.5 cm | PHAR 16 |  |  |  | 10
Filter Paper 11 cm | PHAR 17 |  |  |  | 15
Filter Paper 9 cm,90mm | PHAR 18 |  |  |  | 9
Laboratory film | PHAR 19 |  |  |  | 8
Tweezers | PHAR 20 |  |  |  | 5
Distilled water bottles | PHAR 21 |  |  |  | 7
Glass beakers (25ml) | PHAR 22 |  |  |  | 26
Glass beakers (50ml) | PHAR 23 |  |  |  | 10
Glass beakers (250ml) | PHAR 24 |  |  |  | 2
Plastic beakers (250ml) | PHAR 25 |  |  |  | 14
Plastic beakers (100ml) | PHAR 26 |  |  |  | 9
Glass cylinder (500ml) | PHAR 27 |  |  |  | 6
Glass cylinder (250ml) | PHAR 30 |  |  |  | 10
Glass cylinder (100ml) | PHAR 31 |  |  |  | 10
Plastic cylinder (250ml) | PHAR 32 |  |  |  | 15
Plastic cylinder(100ml) | PHAR 33 |  |  |  | 9
Plastic cylinder(50ml) | PHAR 34 |  |  |  | 16
Plastic cylinder(25ml) | PHAR35 |  |  |  | 16
Plastic cylinder(10ml) | PHAR 36 |  |  |  | 19
Glass funnel (small ) | PHAR 37 |  |  |  | 10
Glass funnel (medium) | PHAR 38 |  |  |  | 7
Glass funnel (large ) | PHAR 39 |  |  |  | 10
Thermometer type 1 | PHAR 40 |  |  |  | 15
Thermometer type 2 | PHAR 41 |  |  |  | 3
Capillary tube | PHAR 42 |  |  |  | 1 packet
Mortar and pestle ( small) | PHAR 43 |  |  |  | 10
Mortar and pestle ( large ) | PHAR 44 |  |  |  | 5
Burner | PHAR 45 |  |  |  | 9
Conical flask glass (500ml) 1st lab | PHAR 46 |  |  |  | 4
Conical flask glass(250ml) | PHAR 47 |  |  |  | 4
Conical flask glass (100ml) | PHAR 48 |  |  |  | 5
Volumetric flask (100ml ) | PHAR 49 |  |  |  | 4
Volumetric flask (250ml ) 1st lab, | PHAR 50 |  |  |  | 5
Glass beaker (50ml) | PHAR 51
Volumetric flask (250ml) | PHAR 52 |  |  |  | 4
Volumetric flask(100ml) | PHAR 53 |  |  |  | 3
Distilled water bottle | PHAR 54 |  |  |  | 7
Glass rod | PHAR 55 |  |  |  | 14
Spatula type 1 | PHAR 56 |  |  |  | 12
Spatula type 2 large | PHAR 57 |  |  |  | 2
Spatula type 2 medium | PHAR 58 |  |  |  | 10
Spatula type 2 small | PHAR 59 |  |  |  | 21
Petri dishes | PHAR 60 |  |  |  | 97 boxes ( each contains 20)
Swab (sterilized) | PHAR 61 |  |  |  | 2 box ( contains 100
Test tube holder | PHAR 62 |  |  |  | 10
Glass rod | PHAR 63 |  |  |  | 15
Petri dishes | PHAR 64 |  |  |  | 97 boxes ( each contains 20)
Swab (sterilized) | PHAR 65 |  |  |  | 2 box ( contains 100)
Centrifuge tubes plastic(2ml) | PHAR 66 |  |  |  | 19 packs
Rubber sucker | PHAR 67 |  |  |  | 4 pieces
Bulb Pipette (10ml) | PHAR 68 |  |  |  | 11 pieces
Bulb Pipette (25ml) | PHAR 69 |  |  |  | 9 pieces
Bulb Pipette (5ml) | PHAR 70 |  |  |  | 7 pieces
Titration burette ( 50ml ) | PHAR 71 |  |  |  | 15 pieces
Titration burette (25ml) | PHAR 72 |  |  |  | 15 pieces
Clamps | PHAR 73 |  |  |  | 7 pieces
xL rubber stopper | PHAR 74 |  |  |  | 42 pieces
Centrifuge tubes plastic(2ml) | PHAR 75 |  |  |  | 19 packs
Round Bottom Flask 100ml | PHAR 76 |  |  |  | 3
Separatory funnel 250ml | PHAR 77 |  |  |  | 14
Separatory funnel 500ml | PHAR 78 |  |  |  | 1
Disposable dropper | PHAR 79 |  |  |  | 19 packs
Tongues | PHAR 80 |  |  |  | 14
Burette | PHAR 81 |  |  |  | 14
Brusher | PHAR 82 |  |  |  | 8
Plastic funnel (small) | PHAR 83 |  |  |  | 5
Plastic funnel ( medium ) | PHAR 84 |  |  |  | 10
Plastic funnel (large ) | PHAR 85 |  |  |  | 2 boxes
Manual cell counter | PHAR 86 | India |  | Ref= 46/3181 | 2
Thermometer | PHAR 87 |  |  |  | 6
Well-holder | PHAR 88 |  |  |  | 12 well in 5
Crucible | PHAR 89 |  |  |  | 1 box
Watch glass small | PHAR 90 |  |  |  | 1 box
Watch glass large | PHAR 91 |  |  |  | 2 boxes
Syringes | PHAR 92 |  |  |  | 1 bag
Gloves | PHAR 93 |  |  |  | 2
Latex bag | PHAR 94 |  |  |  | 4 boxes
Labeling tape | PHAR 95 |  |  |  | 1 box
Lab coat | PHAR 96 |  |  |  | 17
Pipette tip | PHAR 97 |  |  |  | 10 boxes
Dropper glass | PHAR 98 |  |  |  | 3 boxes
Test tube holder | PHAR 99 |  |  |  | 14
Pharmaceutical Chemistry
Incubator | PHAR02/203 | NUVE | EN 055 | 3.2535 | 1
Large Hot Plate | PHAR02/202 | VWR | 984VW7CHPEUS | 160912004 | 1
Vortex Mixer | PHAR02/204 | IKA | MTS 2/4 D5000 | 100393512/ | 2
| PHAR02/205 |  |  | 100393510
Cooled Incubator | PHAR02/215 | NUVE | ES 120 | 2.0715 | 1
Analytical Scale | PHAR02/209 | Adam-Equipment | NBL 214I | AE9XB221 | 1
Desktop PC Housing Unit | PHAR01/127 | HP | HP ProDesk 400G4MT Business | SGH749PB51 | 1
HPLC UV/VIS Detector Unit | PHAR02/206 | SYKRAM | S3250 | 42317 | 1
HPLC Pump System | PHAR02/216 | SYKRAM | S1130 | 16917 | 1
Steam Sterilizer | PHAR02/207 | NUVE | NC 40M | 1.0062 | 1
LG Fridge | PHAR02/217 | LG | GNB-732HGL | 807INNG12055 | 1
Shaking Water Bath | PHAR02/208 | NUVE | ST 30 | 2.0476 | 1
Electrophoresis/Immunoassay | PHAR02/211 | NIPPON Genetics Europe GmbH | FastGene B/G Gelpic Box | 1734BG30A270002 | 1
Visualizer
Magnetic Stirrer | PHAR02/201 | VWR | 984VW4CSTEUS | 171229002 | 1
Colorimeter | PHAR02/210 | J.P.SELECTA,s.a | 4120009 | 640409 | 1
Water Distiller | PHAR02/218 | NUVE | ND4 | 2.0641 | 1
Chromatography Column w/cone&disc | N/A | Kavalier-Simax | Cat no:00793 | PCS EAN: 110793 | 3
Condenser Column Vigreux | N/A | Kavalier-Simax | Cat no:00691 | PCS EAN: 1100691 | 10
short
10mL Plastic Measuring Cylinder | N/A | N/A | N/A | N/A | 11
25mL Plastic Measuring Cylinder | N/A | N/A | N/A | N/A | 14
50mL Plastic Measuring Cylinder | N/A | N/A | N/A | N/A | 12
100mL Plastic Measuring Cylinder | N/A | N/A | N/A | N/A | 22
200mL Plastic Measuring Cylinder | N/A | N/A | N/A | N/A | 15
100mL Glass Conical Flask | N/A | Supertek | N/A | N/A | 4
250mL Glass Conical Flask | N/A | Supertek | N/A | N/A | 6
500mL Glass Conical Flask | N/A | Supertek | N/A | N/A | 6
Simax 300mm Condenser Tube | N/A | Simax | N/A | N/A | 5
500mL Glass Cylinder | N/A | N/A | N/A | N/A | 1
50mL Glass Beaker | N/A | N/A | N/A | N/A | 19
250mL Glass Beaker | N/A | N/A | N/A | N/A | 5
250mL Plastic Beaker | N/A | N/A | N/A | N/A | 5
250mL Glass Reflux Globe | N/A | N/A | N/A | N/A | 9
50mL Glass Reflux Globe | N/A | N/A | N/A | N/A | 2
100mL Glass Reflux Globe | N/A | N/A | N/A | N/A | 5
250mL Double Headed Glass Reflux Globe | N/A | N/A | N/A | N/A | 3
Glass T-Shaped Adapter | N/A | N/A | N/A | N/A | 9
Glass V-Shaped Adapter | N/A | N/A | N/A | N/A | 5
Mercury Thermometer | N/A | N/A | N/A | N/A | 7
Stand and Clamp | N/A | N/A | N/A | N/A | 14
Metal Tong | N/A | N/A | N/A | N/A | 4
Microscopes | PHAR02/221 | euromex | microblue | E.U.1980772 | 8
Shaking Water Bath | PHAR02/208 | nuve | ST-30 | 2.0476 | 1
Sensitive Balance | N/A | inovia lab | AT-220 | AT20180403004 | 1
Sensitive Balance | N/A | zorcelik | KS500 | C0017060053 | 2
Heating Mantle | N/A | witeg | WHM12014 | 1000952183F017 | 11
Heating Mantle | PHAR02/207 | PTHW | N/A | N/A | 1
Heating Mantle | PHAR02/211 | aibote | N/A | N/A | 1
Stirrer | PHAR02/201 | VWR | 984VW4CSTEUS | 171229002 | 2
Melting Point Apparatus | N/A | Inovia lab | INOMELTP-300 | F10011 | 2
Oven | PHAR 9 | nuve | KD200 | 6.0531 | 1
Hood | N/A | helclab | N/A | N/A | 1
Vortex Mixer | PHAR02/204 | IKA | MTS2/4D5000 | 100393512 | 2
Water Bath | N/A | inovia lab | INOWB-6 | 151120196 | 2
Centrifuge | N/ A | inovia technology | FC5000-B6 | 201411186B42 | 2
Heater | N/A | LLIXOL_2500 | N/A | N/A | 3
Distillator | PHAR 3 | nuve | ND4 | 2.0643 | 1
Heating Mantle | PHAR02/206 | N/A | n/A | N/A | 1
Electrical Transformer | PHAR02/221 | shimadzu | B-10 step down transformer | 222-13884-02 | 1
Thermal Analyzer | N/A | shimadzu | N/A | C30875601563 | 1
Differential Scanning Calorimeter | PHAR02/219 | shimadzu | DSC-60A Plus | C3009556000705A | 1
Incubator | N/A | nuve | ES200 | 2.0715 | 1
Sensitive Balance | N/A | Necklife | KD-TAC | F804079019 | 1
Robotic and Electronic Lab
Dual display digital multi-meter | Elec/R1 | GWINSTEK | - | CK880710 | 10
Digital Oscilloscope | Elec/R2 | RIGOL | DS1052E | DS1ED123510353 | 9
Laboratory Power Supply | Elec/R3 | - | GPS-4303 | EK882878 | 9
Function Generator | Elec/R4 | GWINSTEK | - | CK882119 | 10
Advanced analog&digital design workstation | Elec/R5 | Global Specialties | PB 505 | 1001361 | 9
VEX-Robots (Claw-bots) | Elec/R6 | VEX -Robot |  | Clawbot 276-2600-0512 | 16
Breadboards | - | - | - | - | 9
Resistors | - | - | - | - | 200
Decode resistance box | - | - | - | - | 1
Decode capacitance box | - | - | - | - | 1
Digital Multimeter |  | UNI-T | UT61 | 110401103426 | 10
Capacitors | - | - | - | - | <50
LEDs & jumper wires | - | - | - | - | <50
Chips | - | - | - | - | <100
PNP transistors | - | - | - | - | >10
Light dependent resistors LDR | - | - | - | - | >9
Diodes | - | - | - | - | >60
LED Display (Digits) | - | - | - | - | >50
Transistor | - | - | - | - | >60
Inductor | - | - | - | - | >20
Zener Diode | - | - | - | - | >15
Photodiode | - | - | - | - | >20
Laptops | - | - | - | - | >16
TTL, dual JK flip flops with preset and clear | - | - | - | - | >40
Cortex Microcontroller | - | - | - | - | >10
Smart Charger v6 | - | - | - | - | 7
Smart Charger v2 | - | - | - | - | 9
USB A-A Tether Cable | - | - | - | - | 8
Power Cord v2 | - | - | - | - | 7
7.2 V Robot Battery | - | - | - | - | 14
LCD Display | - | - | - | - | 16
Speaker Module | - | - | - | - | 16
Battery Extension Cable | - | - | - | - | 18
Battery Strap (2-Pack) | - | - | - | - | 8
Limit Switch | - | - | - | - | 15
Ultrasonic Range Finder | - | - | - | - | 10
Line Tracker | - | - | - | - | 10
Bumper Switch (2-Pack) | - | - | - | - | 10
Potentiometer (2-Pack) | - | - | - | - | 10
Motor 393 Encoder Module (2-Pack) | - | - | - | - | 10
Surveying and Geomatics
Total Station | SGE 01 | Topcon | GTS-255 | KB1435 | 1
Total Station | SGE 02 | Topcon | GTS-255 | KB1720 | 1
Digital Level | SGE 03 | Leica | Sprinter 250M | 2212385 | 1
Automatic Level | SGE 04 | Leica | NA 720 | 5721968 | 1
Automatic Level | SGE 05 | Leica | NA 720 | 5722322 | 1
Automatic Level | SGE 06 | Leica | NA 720 | 5722280 | 1
Automatic Level | SGE 07 | Leica | NA 720 | 5722206 | 1
Electronic Theodolite | SGE 08 | South | ET 05 | T246111 | 1
Electronic Theodolite | SGE 09 | South | ET 05 | T250676 | 1
Electronic Theodolite | SGE 10 | South | ET 05 | T249616 | 1
Electronic Theodolite | SGE 11 | South | ET 05 | T250543 | 1
Electronic Theodolite | SGE 12 | South | ET 05 | T244018 | 1
Electronic Theodolite | SGE 13 | South | ET 05 | T250543 | 1
Automatic Level | SGE 14 | Leica | NA 720 | 5735726 | 1
Automatic Level | SGE 15 | Leica | NA 720 | 5735712 | 1
Total Station | SGE 16 | Topcon | GTS-255 | KB2038 | 1
Total Station | SGE 17 | Topcon | GTS-255 | KB1345 | 1
GPS | SGE 18 | Leica | GS16 | 3707780 3707776 | 1
Fluid Mechanics, Thermodynamics
Hydraulic Bench | FMT-01A,B | Superb Technologies | SHD-24 | 1000501 | 2
Hydrostatic Bench | FMT-02A,B | Superb Technologies | SHD-52 | 1000901 | 2
Bernoulli's Theorem Apparatus | FMT-03A,B | Superb Technologies | SHD-01 | 1000101 | 2
Impact of Jet on vanes App. | FMT-04A,B | Superb Technologies | SHD-04 | 1000401 | 2
Boyle's Law Apparatus | FMT-05A,B | Superb Technologies | SHD-95 | DT:- 10/12/18 | 2
Flow through Venturimeter and orificmeter | FMT-06A,B | Superb Technologies | SHD-07 | 1000801 | 2
Series and Parallel Centrifugal Pump | FMT-07A,B | Superb Technologies | SHD-35 | 1001301 | 2
Centrifugal Pump Test Rig | FMT-08A,B | Superb Technologies | SHD-34 | 1001201 | 2
Reynolds's Apparatus | FMT-09A,B | Superb Technologies | SHD-10 | 1000601 | 2
Losses in Pipe Fittings App. | FMT-10A,B | Superb Technologies | SHD-06 | 1000701 | 2
Marcet Boiler | FMT-11A,B | Superb Technologies | SHD-51 | 1000201 | 2
Air Pressure Control Trainer | FMT-12A,B | Superb Technologies | ST-314A | 1001401 | 2
Standard Pentrometer | FMT-13A,B | Superb Technologies | SHD-94 | 1001101 | 2
Oil Free Compressor | FMT-14A | Wanger |  |  | 1
Air Compressor | FMT-15A | Greenfors Professional |  |  | 1
Petruleum Lab 2
Fume Hood | PFP-01A | Microtest | MCO-120 | 2018-0038 | 4
| PFP-01B |  |  | 2018-0039
| PFP-01C |  |  | 2018-0040
| PFP-01D |  |  | 2018-0041
Petroleum Product Kinematic Viscosity Tester | PFP-02A | Lab-Kits | PT-SYD-265C | KV2018103001H | 2
| PFP-02B |  |  | KV2018103001HH
Water Content Analyzer for Crude Oil | PFP-03A | Lab-Kits | PT-HK-1032 | WC2018102901C | 2
| PFP-03B |  |  | WC2018102902C
Petroleum Products Distillation Tester | PFP-04A | Lab-Kits | PT-SYD-255 | DT2018103001F | 2
| PFP-04B |  |  | DT2018103002F
Smoke Point Tester for Kerosene | PFP-05A | Lab-Kits | PT-HK-1036 | SK2018102901B | 3
| PFP-05B |  |  | SK2018102902B
| PFP-05C |  |  | SK2018102903B
Aniline Point Tester | PFP-06A | Lab-Kits | PT-SYD-262 | AP2018103001G | 2
| PFP-06B |  |  | AP2018103002G
Heating Stirrer | PFP-07A | Lab-Tech | MHS-A | 707181062 | 5
| PFP-07B |  |  | 707181049
| PFP-07C |  |  | 707181077
| PFP-07D |  |  | 707181052
| PFP-07E |  |  | 707181031
Density Determination Hydrometer | PFP-08A | Lab-Kits | PT-HK-1028 | DC2018102901E | 2
| PFP-08B |  |  | DC2018102902E
Electronic Balance | PFP-09A | Lab-Kits | WB1003N | EB2018103001I | 3
| PFP-09B |  |  | EB2018103002I
| PFP-09C |  |  | EB2018103003I
Oven | PFP-10A | Lab-Tech | LDO-030E | 20170215051 | 4
| PFP-10B |  |  | 20170215054
| PFP-10C |  |  | 20170215058
| PFP-10D |  |  | 20170215059
Petroleum Product Carbon Residue Tester | PFP-11A | Lab-Kits | PT-SYD-268 | CR2018103001D | 2
| PFP-11B |  |  | CR2018103002D
Semi-automatic closed cap Flash Point Tester | PFP-12A | Lab-Kits | PT-HK-1002A | CF2018102901A | 2
| PFP-12B |  |  | CF2018102902A
Melting Point Device | PFP-13A | A & E Lab | DMP-400 | 551030621 | 2
| PFP-13B |  |  | 551030622
Electric Centrifuge | PFP-14A | Local | 80-1 | 14141997 | 3
| PFP-14B |  |  | 14141982
PFP-14C
Medical Analysis Lab 1
UV imaging Universal hood | MED. 18 | Bio-Rad | ET9970685AA | 765/02431 | 1
Computer | PHAR 02. 213 |  |  |  | 3
RT- PCR | MED. 19 | QIAGEN | Roter-Gene Q | R0714106 | 1
Gel documentation (immunology visualiser) | MED. 20 | NIPPON GENTICS | FastGene B/G Gelpic Box | 1734BG30A270002 | 1
conventional PCR | MED. 21 | DLAB | TC10005 | BH172AE0000017 | 1
Thermal Cycler | MED. 22 | Mini Amp | A37028 | 2280420000000 | 1
Bench top centrfuge | PHAR. 6 | Nuve | NF048 | 24351 | 1
Gel electrophoresis | MED. 23 | cleaver scientific | power pro- 300 | 181109018 | 1
microwave |  |  |  |  | 1
Fluoroscence | MED. 29 | euromex | iscope series | EU1840468 | 2
MICROBLUE |  | EUROMEX |  | 1980749 | 10
heater and stirrer |  |  |  |  | 1
Wax Dispenser | A11 | electrothermal
multitube wortexer | MED. 38 | VWR | VX- 2500 | 171218001 | 1
slid dispense | MED. 36 | electrothermal | MH8517 | MB14450 | 1
Microtome | MED. 32 | Histto-line laboratroy | ARM3750 | ARM3750.19.02.12 | 1
Biological safety Cabinet |  | Bio Base |  |  | 2
water distiler | MED. 30 | Nuve | ND4 | 2.0641 | 1
centrifuge | MED. 8 | Pro- Analytical CR 2000 | TG-3A | 2/80661 | 1
HPLC PUMP SYSTEM | PHAR 02/2016 | SYKAM | S1130 | 16917 | 1
HPLC UV/VIS DETECTOR UNIT | PHAR 02/206 | SYKAM | 53250, 53250 | 42317 | 1
HOUSING UNIT | PHAR 01/127 | HP | BUSINESS | SGH749PBSI
gel electrophoresis |  |  | power pro- 300 | 181109013
heating magnetics | med.1 | VELP Scientifica | F20500162 | 498972 | 2
VORTEX |  | VELP Scientifica |  | 497597 | 1
digital heat block | MED. 39 | VWR | MULTI 230V | 171114002
BFS-3MP CONTROLLER | A23 | PHYSITEMP |  | 7840 | 1
PIPETTE TIP FILTER TIP 10 micro |  |  |  |  | 10
PIPETTE TIP FILTER TIP 50 micro |  |  |  |  | 3
sediment filter |  |  |  |  | 1
LTC Plate aluminium |  |  |  |  | 4
latex bays |  |  |  |  | 4
1000 mi cor tips |  |  |  |  | 2
pipet tip |  |  |  |  | 1
sterilization tape |  |  |  |  | 11
centerfuge tube 1ml |  |  |  |  | 11
centerfuge tube 1.5ml |  |  |  |  | 15
centerfuge tube 0.5ml |  |  |  |  | 17
sabouraud 4% glucose agar |  |  |  |  | 1
decarboxylase broth base |  |  |  |  | 1
thioglycollate medium |  |  |  |  | 1
YPD- medium |  |  |  |  | 1
2-mercaptoethanol |  |  |  |  | 1
loeffler serum meium base |  |  |  |  | 1
cetytrimethylammonium- bromid |  |  |  |  | 1
glasperlen |  |  |  |  | 1
phenol red broth base |  |  |  |  | 1
MIU medium base |  |  |  |  | 1
candida chromogener agar |  |  |  |  | 1
agarose GTQ |  |  |  |  | 1
MOPS |  |  |  |  | 1
L-lysin monohydrat |  |  |  |  | 1
ascorbic acid 99-100% |  |  |  |  | 1
bactiDrop |  |  |  |  | 1
sodium phenyl phosphate |  |  |  |  | 1
victoriablau |  |  |  |  | 1
1- amio-2-hydroxynapthalin 4-sulfonsaure |  |  |  |  | 4
glycogen |  |  |  |  | 1
fomaldehyde 2,4-dinitrophenylhydrazone |  |  |  |  | 1
xanthene |  |  |  |  | 1
mehanol extra pure |  |  |  |  | 1
thiazine red |  |  |  |  | 1
trichrome stain lg solution |  |  |  |  | 1
karbol-fuchsin |  |  |  |  | 1
chromic acid solution 5% |  |  |  |  | 1
selentite broth base |  |  |  |  | 1
2-propabol |  |  |  |  | 1
entkalker soft |  |  |  |  | 2
glycerin |  |  |  |  | 1
tartrazine |  |  |  |  | 1
bromine |  |  |  |  | 1
perchlorsaure supra qupra qualitat |  |  |  |  | 1
methylenblaulosung |  |  |  |  | 1
trchlormethan/ chlorofrm |  |  |  |  | 1
transport swab |  |  |  |  | 1 bag
disposable loops |  |  |  |  | 1 bag
iron loops |  |  |  |  | 7
filter paper |  |  |  |  | 2
wires and electrical connections |  |  |  |  | 1
96 well ELISA microplate |  |  |  |  | 1 bag
ELISA washer plate |  |  |  |  | 1 bag
funnel with filter tissues |  |  |  |  | 2
gel electrpphoresis trays |  |  |  |  | 2
micro AMP splash free 96 well base |  |  |  |  | 1
microAMO 96 well tray for veriflex system |  |  |  |  | 1
microAMO 96 well tray retainer set for verity systems |  |  |  |  | 1
strip tubes and caps 0.1 ml |  |  |  |  | 2
syringe 5ml |  |  |  |  | 1
pipette tips 200 UL |  |  |  |  | 2
single channel pipette |  |  |  |  | 22
multi-channel pipette 200 µl |  |  |  |  | 1
multi-channel pipette 200 µl |  |  |  |  | 1
PCR racks |  |  |  |  | 11
microplate 384-well for PCR |  |  |  |  | 1 box
microplate 96-well for PCR |  |  |  |  | 1 box
coverslips (rectangular+ square) |  |  |  |  | 1
vials with inner thread seal |  |  |  |  | 1
cryostage boxes |  |  |  |  | 2 boxes
blotting incubation boxes |  |  |  |  | 10
blotting papper |  |  |  |  | 1
membrane for western blotting |  |  |  |  | 1
haemocytometer |  |  |  |  | 1
coverslips quare or rectangular |  |  |  |  | 15
RPMI-1640 MEDIUM |  |  |  |  | 1
mega cell, PRMI |  |  |  |  | 1
gluta Max |  |  |  |  | 2
cell dissociation buffer |  |  |  |  | 2
HEPES |  |  |  |  | 1
MOUNTING MEDIUM |  |  |  |  | 1
CELL MEDIUM HIGH GLUCOSE |  |  |  |  | 2
BASAL MEDIUM |  |  |  |  | 1
ACETALDEHYD |  |  |  |  | 1
AMPICILIN NATNIUMASTAZ |  |  |  |  | 1
MOUNTING STANDARD |  |  |  |  | 1
Bovine serumalbumin |  |  |  |  | 2
mount fluorcare |  |  |  |  | 1
h. pylori ab rapid test |  |  |  |  | 1
tetrammethylbenzidine |  |  |  |  | 1
bacitracin |  |  |  |  | 1
tris (hyroxymethyl) methylamine, boric acid and EDTA |  |  |  |  | 2
HEV IgG |  |  |  |  | 1
DNA extraction kit |  |  |  |  | 2
bilirubine totale et directs |  |  |  |  | 1
AST GOT colorimetric method |  |  |  |  | 1
FER direct method |  |  |  |  | 1
RNA isolation kit |  |  |  |  | 2
urea colorimetric method |  |  |  |  | 1
cholestrol HDL |  |  |  |  | 1
antigens febriles |  |  |  |  | 1
G6-PDH |  |  |  |  | 1
amylase |  |  |  |  | 1
AST-Got sngle vial |  |  |  |  | 1
FOB rapid test cassette (feces) |  |  |  |  | 1
ALT0 GPT colorimetric method |  |  |  |  | 1
acid phosphatase |  |  |  |  | 1
ammonia |  |  |  |  | 1
LDL-CHOLESTROL DIRECT METHOD |  |  |  |  | 1
TRIGLYCERIDES GPO METHOD |  |  |  |  | 2
microalbumine control |  |  |  |  | 1
chloride |  |  |  |  | 1
inorganic phosphorus |  |  |  |  | 1
ck-MB ISOENZYME |  |  |  |  | 1
LIPASE KIETIC METHOD |  |  |  |  | 1
ANTI B MONOCOLONAL |  |  |  |  | 1
MICROALBUMIN |  |  |  |  | 1
ALBUMINBCG METHOD |  |  |  |  | 1
CALCIUM CPC METHOD |  |  |  |  | 1
MAGNISIUM CALMAGITTE |  |  |  |  | 1
GLYCATED hemolobin A1 |  |  |  |  | 1
alkaline phosphatase |  |  |  |  | 1
gamma GT carboxy GPNA |  |  |  |  | 1
PROTHROMBINE TIME |  |  |  |  | 1
FACTORE II |  |  |  |  | 1
ALT GPT SINLE VIAL |  |  |  |  | 1
CREATININE |  |  |  |  | 1
ALKALINE PHOSPHATASE |  |  |  |  | 1
GAMM GT CARBOCY GPNA |  |  |  |  | 1
STONE ANALYSIS SET |  |  |  |  | 1
L.D.H. (LDH-P) SFBC Modified method |  |  |  |  | 1
glucose GOD-PAP |  |  |  |  | 2
RA LATEX TEST KIT |  |  |  |  | 1
PREGNANCY LATEX TEST KIT |  |  |  |  | 1
ASO latex test kit |  |  |  |  | 1
febrile antigen test kit |  |  |  |  | 2
glycate hemoglobin A! |  |  |  |  | 1
ESR Kit |  |  |  |  | 1 box
blood lancets |  |  |  |  | 1 box
EDTA Tube |  |  |  |  | 2 box
Lityum heparin tubes |  |  |  |  | 1 box
PT tube 1 box |  |  |  |  | 2 box
urine cap |  |  |  |  | 1 bag
containers |  |  |  |  | 1 bags
csf tube |  |  |  |  | 14 tubes
plastic tube |  |  |  |  | 10
petridish |  |  |  |  | 12
disposable pipete |  |  |  |  | 27 boxes
petridish |  |  |  |  | 7 boxes
Pharmacology Lab
Digital Tail Flick Analgesia Meter | PHGY1 | TFA-01 | TFA-01/19-20/02 | ORCHID Scientific | 2
Digital Electroconvulsiometer | PHGY2 | EC-02 | EC-02-/19-20/04 | ORCHID Scientific | 1
Hot Plate Stirrer | PHGY3 | MSH-20D | 100145619AR001 | Witeg Germany | 1
Rotarod Apparatus | PHGY4 | RR-02 | RR-02/19-20/08 | ORCHID Scientific | 1
Analgesia Meter Hot Plate | PHGY5 | EH-01 | EH-01/19-20/03 | ORCHID Scientific | 1
Digital Cook's Pole Climbing Apparatus | PHGY6 | CP-01 | CP-01/19-20/04 | ORCHID Scientific | 1
Elevated Plus Maze | PHGY7 | NA | NA | ORCHID Scientific | 2
Digital Plethysmometer | PHGY8 | PLM-01 | PLM-01/19-20/04 | ORCHID Scientific | 1
Small Animal Operating Table | PHGY9 | OTSH-S2 | OTSH-S2/19-20/01 | ORCHID Scientific | 1
Analytical Sensitive Balance | PHGY10 | AT-220 | 30121 | INOVIA LAB | 1
Spirometer | PHGY11 | NA | NA | PHIPDS&BZRD | 1
Muffle Furnace | PHGY12 | INOKLF1200-7L | 180631 | INOVIALAB | 1
Hot Plate Stirrer | PHGY13 | HP-20A | 10012331930002 | Witeg Germany | 1
Heating Mantle | PHGY14 | WHM12015 | 1000953186S020 | Witeg Germany | 10
Heating Mantle | PHGY15 | WHM12014 | 1000952183F007 | Witeg Germany | 10
Refrigerator | PHGY16 | GNB-462WL | NA | LG electronics | 1
Microwave | PHGY17 | 19T02 | 710670030152 | KENWOOD | 1
Moniter | PHGY18 | NA | CN-01M2XX-QDCOO-95L-0M30-A08 | DELL | 2
Blender | PHGY19 | NA | NA | KOHINOOR | 1
Microscope | PHGY20 | NA | E.V.1980772 | Microblue | 20
Medical Analysis Lab 2
Advanced Vortexer | MED. 40 | VELP Scientific | Zx3 | 497590 | 1
Co2 Incubator | MED. 27 | Thermo scientific | 3404 | 300228685 | 1
Biological safety Cabinet | MED. 25 | Bio Base | 11231 BBC86 | BSC31A1809488A | 1
Chest Freezer | MED. 37 | LAB-KITS | MR-HV30-120 | CF2017122501B | 1
Deep Freezer | MED. 33 | NVVE | DF 490 | Z14. E02016 | 1
Liquid Nitrogen Maker | MED. 34 |  |  |  | 1
Refrigerator | MED. 35 |  |  |  | 1
Medical Analysis Lab 3
Microscopes | PHAR02/221 | euromex | microblue | E.U.1980772 | 8
Shaking Water Bath | PHAR02/208 | nuve | ST-30 | 2.0476 | 1
Sensitive Balance | N/A | inovia lab | AT-220 | AT20180403004 | 1
Sensitive Balance | N/A | zorcelik | KS500 | C0017060053 | 2
Heating Mantle | N/A | witeg | WHM12014 | 1000952183F017 | 11
Heating Mantle | PHAR02/207 | PTHW | N/A | N/A | 1
Heating Mantle | PHAR02/211 | aibote | N/A | N/A | 1
Stirrer | PHAR02/201 | VWR | 984VW4CSTEUS | 171229002 | 2
Melting Point Apparatus | N/A | Inovia lab | INOMELTP-300 | F10011 | 2
Oven | PHAR 9 | nuve | KD200 | 6.0531 | 1
Hood | N/A | helclab | N/A | N/A | 1
Vortex Mixer | PHAR02/204 | IKA | MTS2/4D5000 | 100393512 | 2
Water Bath | N/A | inovia lab | INOWB-6 | 151120196 | 2
Centrifuge | N/ A | inovia technology | FC5000-B6 | 201411186B42 | 2
Heater | N/A | LLIXOL_2500 | N/A | N/A | 3
Distillator | PHAR 3 | nuve | ND4 | 2.0643 | 1
Heating Mantle | PHAR02/206 | N/A | n/A | N/A | 1
Electrical Transformer | PHAR02/221 | shimadzu | B-10 step down transformer | 222-13884-02 | 1
Thermal Analyzer | N/A | shimadzu | N/A | C30875601563 | 1
Differential Scanning Calorimeter | PHAR02/219 | shimadzu | DSC-60A Plus | C3009556000705A | 1
Incubator | N/A | nuve | ES200 | 2.0715 | 1
Sensitive Balance | N/A | Necklife | KD-TAC | F804079019 | 1
Nursing Lab
Otoscope | FN01 | N/A | N/A | N/A | 6
Portabl phleym suction unite | FN 02 | N/A | H003-C | 18085300100 | 1
Medical Regulator | FN 03 | N/A | N/A | N/A | 3
Nubulazer | FN 04 | N/A | N/A | N/A | 3
Male cath-EDI simulator | FN O5 | Nasco | ED I | LF01025U | 1
Femal cath simulator | FN 06 | Nasco | ED II | LF01026U | 1
Stump bandaging simulator | FN 07 | Nasco | N/A | LF010G4U | 1
Brad CPR Manikins | FN O8 | Nasco | N/A | N/A | 2
Intramascular injection simulator | FN 09 | Nasco | N/A | LF00961U | 1
Strap- around examination | FN 10 | 3D | LF508L50 | 1000342 | 2
Ostomy care simulator | FN 11 | Nasco | N/A | LF00906U | 1
AED PLUS | FN 12 | ZOLL | Trainer 2 | N/A | 2
Skin Burn / Normal model | FN 13 | Nasco | N/A | SB46482 | 2
Injection , venpuncture , cannulation and infusion Arm - light | FN 14 | Nasco | N/A | SB38855 | 3
Medical Trolley | FN 15 | N/A | N/A | N/A | 4
Adult simulator | FN 16 | N/A | N/A | N/A | 1
Suture trainer kit | FN 17 | Nasco | light | LF01042U | 5
Degital ECG | FN 18 | RO-Chain | ECG-3306B | 1711032 | 1
DC-Shock | FN 19 | Life-point | N/A | N/A | 1
Hospital bed | FN 20 | N/A | N/A | N/A | 5
40 Liters oxygen cylinder | FN 21 | DFAD | SC40BJ-E5-219 | Hospital bed | 3
Blood glucose meter | FN 22 | Viva chek info | N/A | 101F1021348 | 2
Hospital curtain partition | FN 23 | 101F1021348 | 101F1021348 | 101F1021348 | 5
Fingertip pulse oximeter | FN 24 | 101F1021348 | MD300C12 | 15132301704 | 2
Stethoscope | FN 25 | N/A | N/A | N/A | N/A
Sphegno monometer | FN 26 | N/A | N/A | N/A | N/A
Medical stand | FN 27 | N/A | N/A | N/A | 5
Advance Nursing Baby | FN 28 | Genral Doctor | GD/H130 | N/A | 1
Degital Pediatric simulator | FN 29 | Simulaid | NY12477 | NS24237 | 1
Adult airway management trainner with board | FN30 | N/A | N/A | N/A | 1
Stethoscope | FN31 | N/A | N/A | N/A | 13
Sphegmomanometer | FN32 | N/A | N/A | N/A | 12
Physics Lab
Power Supply 0-24 V | Phy1 | Frederiksen | 3640 | PR00720 | 9
Power Supply 1-12 V | Phy2 | Frederiksen | 3610.5 | GA15151 | 6
Interscale demonstration meter | Phy3 |  |  |  | 1
Digital multimeter | Phy4 |  | DT9205A |  | 12
Multi Display DMM | Phy5 | TT T-ECHNI-C | My-62 |  | 15
Multi Display | Phy6 |  | My-62 |  | 3
Van de Graaff Generator | Phy7 | EISCO | JR-NC | E120904613EVGRAF JR-NC | 1 set (14 Pieces)
Function Generator-Amplifier | Phy8 | Frederiksen | 2500.5 | D02A45 | 1
Decade Resistance Box | Phy9 | EISCO |  |  | 18
Power Supply 0-6000 V DC | Phy10 | Frederiksen | 3660.50-4 | GM02340 | 1
Teslameter | Phy11 | Frederiksen | 4060.5 |  | 1 set (2 Pieces)
Voltmeter | Phy12 | Frederiksen | 3810.6 |  | 1
Planck’s Constant Apparatus | Phy13 | Frederiksen | 5060 |  | 1
DIP NEEDLE | Phy14 | SF | 3430 | DK-6870 | 2
H.C. Oersted Apparatus | Phy15 | Frederiksen | 4557.1 |  | 1
Electronik Metronom | Phy16 | M.E.B. |  | 40500 | 1
Current Balance II | Phy17 | Frederiksen | 456510 |  | 8
Power Supply 90 W | Phy18 | Surat |  |  | 5
Oscilloscope 25 MHz | Phy19 | Rigol | DS5022M | DS502250082372 | 1
Oscilloscope 20 MHz | Phy20 | EZ | OS-5020 | 8105958 | 1
Experiment Lamp | Phy21 | Frederiksen | 2800.5 |  | 1
Sodium Lamp Power Source | Phy22 | EISCO |  |  | 1
Universal Rotator | Phy23 | WABASH | ER-6B |  | 1
Spring Dial Scale | Phy24 | NHQNHQA |  | 49 | 1
Motion Detector | Phy25 | Vernier | P-0812D | 2503001624 | 9
Air Track | Phy26 | Frederiksen | 1970.6 | ZA02076 | 9 Set (5 Pieces)
Projectile motion | Phy27 | Frederiksen | 199220 |  | 9 Set(3 Pieces)
Standing wave | Phy28 | VWR Int. | 45130-00 |  | 1
Dynamometer 50N | Phy29 | Frederiksen | 103870 |  | 68
Lever | Phy30 | Frederiksen | 190500 |  | 12
Table Force | Phy31 | EISCO |  |  | 9
Biology Lab
Hood | BIO 01 |  |  |  | 1
Laminar chamber | BIO 02 |  |  |  | 1
Microscope | BIO 03 | Abron Exports | AB-11B | ----------- | 12
Micro-Centrifuge | BIO 04 | Abron | ----------- | 120157998 | 1
Hot plate | BIO 05 | PEARL | ----------- | 120169108 | 1
Magnetic stirrer | BIO 06 | Abron | ----------- | 120157076 | 1
Vortex | BIO 07 | Abron Experts | ----------- | 120169106 | 1
DNA tube heater | BIO 08 | Abron | ----------- | ----------- | 1
Electrophoresis set | BIO 09 | Abron Experts | AC-389 | 120168044 | 1
pH meter | BIO 10 | Aborn | ----------- | ----------- | 1
Spectrophotometer | BIO 11 | Aborn | ----------- | ----------- | 1
Water bath | BIO 12 | Aborn Experts | ----------- | ----------- | 1
UV- Transilluminator | BIO 13 | Aborn Experts | AC-287 | 120169111 | 1
Autoclave | BIO 14 |  |  |  | 1
Electronic Top-pan Balance | BIO 15 | Aborn | AC-225C | ----------- | 1
Sensitive analytical Balance | BIO 16 | Aborn | Bl5002 | ----------- | 1
Oven | BIO 17 | Aborn Experts | ----------- | 120169112 | 1
Tube holder (racks) | BIO 18 | Aborn | ----------- | ----------- | 8
Micropipette | BIO 19 | Aborn | AC-533 | ----------- | 5
Manual pipetting pump | BIO 20 | Aborn | ----------- | ----------- | 5
Prepared slides | BIO 21 | ----------- | ----------- | ----------- | 400
Petri dishes | BIO 22 | ----------- | ----------- | ----------- | 700
Test tubes | BIO 23 | ----------- | ----------- | ----------- | 500
Micro tubes | BIO 24 | ----------- | ----------- | ----------- | 500
Slide and slide cover box | BIO 25 | ----------- | ----------- | ----------- | 4
Flasks | BIO 26 | ----------- | ----------- | ----------- | 30
Cylinders of different size | BIO 27 | ----------- | ----------- | ----------- | 5 set of 5
Glass pipettes | BIO 28 | ----------- | ----------- | ----------- | 5
Bunsen Burner | BIO 29 | Aborn | ----------- | ----------- | 2
Loops | BIO 30 | ----------- | ----------- | ----------- | 5
Needles | BIO 31 | ----------- | ----------- | ----------- | 5
L shape glasses | BIO 32 | ----------- | ----------- | ----------- | 5
Autoclave Tape | BIO 33 | ----------- | ----------- | ----------- | 5
Wrapping foil | BIO 34 | ----------- | ----------- | ----------- | 1
Filter tips of different size | BIO 35 | ----------- | ----------- | ----------- | 2 set of 100
Durham tubes | BIO 36 | ----------- | ----------- | ----------- | 2 boxes of 100
Haemocytometr (Counting Chamber slide) | BIO 37 | ----------- | ----------- | ----------- | 5
3D Biological models (Animal, plant) | BIO 38 | ----------- | ----------- | ----------- | 48
Drying insect models | BIO 39 | ----------- | ----------- | ----------- | 30
Different biological posters (2D) | BIO 40 | ----------- | ----------- | ----------- | 124
3D biological posters | BIO 41 | ----------- | ----------- | ----------- | 67
Fridge | BIO 42 | LG | R-B601GM | MEZ66707040 | 1

## order
TIU Equipment (Pharmacology Lab)
Device | Code | Manufacturer | Model | S. Number | Quantity
Pharmacology Lab
Digital Tail Flick Analgesia Meter | PHGY1 | TFA-01 | TFA-01/19-20/02 | ORCHID Scientific | 2
Digital Electroconvulsiometer | PHGY2 | EC-02 | EC-02-/19-20/04 | ORCHID Scientific | 1
Hot Plate Stirrer | PHGY3 | MSH-20D | 100145619AR001 | Witeg Germany | 1
Rotarod Apparatus | PHGY4 | RR-02 | RR-02/19-20/08 | ORCHID Scientific | 1
Analgesia Meter Hot Plate | PHGY5 | EH-01 | EH-01/19-20/03 | ORCHID Scientific | 1
Digital Cook's Pole Climbing Apparatus | PHGY6 | CP-01 | CP-01/19-20/04 | ORCHID Scientific | 1
Elevated Plus Maze | PHGY7 | NA | NA | ORCHID Scientific | 2
Digital Plethysmometer | PHGY8 | PLM-01 | PLM-01/19-20/04 | ORCHID Scientific | 1
Small Animal Operating Table | PHGY9 | OTSH-S2 | OTSH-S2/19-20/01 | ORCHID Scientific | 1
Analytical Sensitive Balance | PHGY10 | AT-220 | 30121 | INOVIA LAB | 1
Spirometer | PHGY11 | NA | NA | PHIPDS&BZRD | 1
Muffle Furnace | PHGY12 | INOKLF1200-7L | 180631 | INOVIALAB | 1
Hot Plate Stirrer | PHGY13 | HP-20A | 10012331930002 | Witeg Germany | 1
Heating Mantle | PHGY14 | WHM12015 | 1000953186S020 | Witeg Germany | 10
Heating Mantle | PHGY15 | WHM12014 | 1000952183F007 | Witeg Germany | 10
Refrigerator | PHGY16 | GNB-462WL | NA | LG electronics | 1
Microwave | PHGY17 | 19T02 | 710670030152 | KENWOOD | 1
Moniter | PHGY18 | NA | CN-01M2XX-QDCOO-95L-0M30-A08 | DELL | 2
Blender | PHGY19 | NA | NA | KOHINOOR | 1
Microscope | PHGY20 | NA | E.V.1980772 | Microblue | 20